LSR445SD-OEM

1000~2000mW Blue Laser

FEATURES

Small Divergence

TEC cooled 
Longlife operation

Analog/TTL modulation

Collimated straight beam
High efficiency 
High reliability

APPLICATIONS

Laser show

Display

Laser Alignment

Scanning Biochemistry

Material Inspection Lidar

Specifications

| Model No. | LSR445SD |
| --- | --- |
| Wavelength | 445+/-5 nm |
| Spatial Mode | Near TEM00 |
| Output Power | 1000mW，1500mW， 2000mW |
| Operation Mode | CW or Modulation |
| Beam Height | 29mm |
| Beam Size | 4.5x4mm |
| Beam Divergence(full angle) | 1.2x0.5mrad |
| Power Stability | <3% per 4 hrs |
| Temperature Stabilizing | TEC |
| Warm Up Time | <1 minute |
| MTTF | 10,000 hr |
| Laser head dimensions | 89.5(L)x56(W)x45(H)mm |
| Power Supply | A. OEM type LSR-PS-I: 100(L)x58(W)x32(H)mm3 AC/DC PSU: 85~265V 50/60Hz input |
|  | B. Lab type LSR-PS-IIS: 104(W)x128(D)x89(H)mm3 85~265V 50/60Hz input |
|  | C. Lab Adjustable type LSR-PS-IIS: 179(W)x148(D)x56(H)mm3 85~265V 50/60Hz input |
| Modulation | 0~30khz Analog or TTL |

Laser head

A. OEM type power supply

B. Lab type

C, Adjustable type