LSR505ML 1~50mW

Green Laser

FEATURES

TEC cooled 
Longlife operation

Analog/TTL modulation

Collimated straight beam
High efficiency 
High reliability

APPLICATIONS

Laser Alignment

Scanning Biochemistry

Specifications

| Model No. | LSR505ML |
| --- | --- |
| Wavelength | 505+/-5 nm |
| Spatial Mode | TEM00 |
| Output Power | 1, 10, …, 50mW |
| Operation Mode | CW or Modulation |
| Beam Size | 4.5mm |
| Beam Divergence(full angle) | 0.2mrad |
| Power Stability | <3% per 4 hrs |
| Temperature Stabilizing | TEC |
| Warm Up Time | <1 minute |
| MTTF | 10,000 hrs |
| Laser head dimensions | LSR-NL: 100(L)x40(W)x50(H)mm3 |
| Power Supply | A. OEM type LSR-PS-I: 100(L)x58(W)x32(H)mm3 AC/DC PSU: 85~265V 50/60Hz input |
|  | B. Lab type LSR-PS-IIS: 104(W)x128(D)x89(H)mm3 85~265V 50/60Hz input |
|  | C. Lab Adjustable type LSR-PS-IIS: 179(W)x148(D)x56(H)mm3 85~265V 50/60Hz input |
| Modulation | 0~30khz Analog or TTL |

A. OEM type power supply LSR-PS-I+5V PSU

B. Lab type power supply LSR-PS-IIS

C. Lab Adjustable power supply LSR-PS-II